Innovative Technology Notice

Application Submitted Pursuant to Title 5, 310 CMR 15.000

Department of Environmental Protection

Watershed Permitting Program

#### Transmittal Number:  W032285

Application Filing Date: December 30, 2002

Public Notice is hereby given of the application by Ring Industrial Group, EZFlow to the Department of Environmental Protection requesting Certification for General Use Approval of the  EZflow Polystyrene (EPS) Aggregate System pursuant to 310 CMR 15.288 of Title 5. This provision of Title 5 describes the approval process for General Use of innovative/ alternative technologies for the treatment and subsurface disposal of sewage from facilities regulated under Title 5.

The application proposes the use of alternative standards for the following provisions in Title 5:

- That the use of aggregate for soil absorption systems, as specified in 310 CMR 15.247, is not applicable to the EZflow Polystyrene (EPS) Aggregate System.

- That the EZflow Polystyrene (EPS) Aggregate System consisting of pipe, netting and polystyrene beads distribute the effluent received from the onsite treatment system in place of an aggregate trench designed in accordance with 310 CMR 15.251 or a bed or field designed in accordance with 310 CMR 15.252.

The Department welcomes any interested parties to provide any relevant information concerning the performance of this technology to be considered in the review process.  The Department will consider all data and written comments submitted within 21 days after the publication of this notice in order to decide whether to grant approval pursuant to 310 CMR 15.000.  To schedule a time to review the application or to obtain further information regarding this application please contact the Watershed Permitting Program at (617) 292-5658.  All written comments should be submitted to: Department of Environmental Protection, Watershed Permitting Program, One Winter Street, 6th Floor, Boston, MA 02108.

If you wish notification of the Department's preliminary determination concerning this application, please send to the Department a written request with your comments, if any, within 21 days from the publication date of this Environmental Monitor.