Innovative Technology Notice

Pursuant to Title 5, 310 CMR 15.000

Department of Environmental Protection

Watershed Permitting Program

Public Notice is hereby given that the Watershed Permitting Program of the Department of Environmental Protection is proposing Certification for General Use for a Tire Chips Aggregate System pursuant to 310 CMR 15.288 of Title 5. This provision of Title 5 describes the approval process for General Use of innovative/ alternative technologies for the treatment and subsurface disposal of sewage from facilities regulated under Title 5.

The Watershed Permitting Program proposes the use of alternative standards for the following provisions in Title 5:

- That tire chips may be used as a replacement for an equal volume of stone aggregate, specified in 310 CMR 15.247, for soil absorption systems with a Title 5 design flow of less than 2,000 gpd.

- That soil absorption systems using tire chips shall be designed and installed in a trench configuration in accordance with 310 CMR 15.249 and 15.251 or in a bed or field configuration in accordance with 310 CMR 15.252.

The Department welcomes any interested parties to provide any relevant information concerning the performance of this technology to be considered in the review process.  The Department will consider all data and written comments submitted within 21 days after the publication of this notice in order to decide whether to grant approval pursuant to 310 CMR 15.000.  To schedule a time to review the research and other data available or to obtain further information regarding this proposal please contact the Watershed Permitting Program at (617) 292-5920.  All written comments should be submitted to: Director, Department of Environmental Protection, Watershed Permitting Program, One Winter Street, 6th Floor, Boston, MA 02108.

If you wish notification of the Department's preliminary determination concerning this proposal, please send to the Department a written request with your comments, if any, within 21 days from the publication date of this Environmental Monitor.