Innovative Technology Notice

Application Submitted Pursuant to Title 5, 310 CMR 15.000

# Department of Environmental Protection

# Watershed Permitting Program

#### Transmittal Number:  W054018

Application Filing Date: October 18, 2004

Public Notice is hereby given of the application by Fralo Plastech Manufacturing LLC to the Department of Environmental Protection requesting Certification for General Use of the SEPTECH™ Poly Tanks pursuant to 310 CMR 15.288 of Title 5.  This provision of Title 5 describes the approval process for General Use of innovative/ alternative technologies for the treatment and subsurface disposal of sewage from facilities with design flows of less than 10,000 gallons per day.

The application proposes the use of alternative standards for the following provision in Title 5:

310 CMR 15.223(2) requires that a septic tank shall have a minimum effective depth of four feet (48 inches). The SEPTECH tanks have an effective depth of 3.33 feet (40 inches).

310 CMR 15.228(2) requires at least three 20 inch manholes. The SEPTECH tanks have two 24 inch manholes.

The Department welcomes any interested parties to provide any relevant information concerning the performance of this technology to be considered in the review process.  The Department will consider all data and written comments submitted within 21 days after the publication of this notice in order to decide whether to grant approval pursuant to 310 CMR 15.000.  To schedule a time to review the application or to obtain further information regarding this application please contact the Watershed Permitting Program at (617) 292-5920.  All written comments should be submitted to: Department of Environmental Protection, Watershed Permitting Program, One Winter Street, 6th Floor, Boston, MA 02108.

If you wish notification of the Department's preliminary determination concerning this application, please send to the Department a written request with your comments, if any, within 21 days from the publication date of this Environmental Monitor.